## Appendix C Table 1
Appendix C, Table 1: Comparable Solar Energy Programs Across the U.S.
Implementing Sector | Category | State | Program Name | Incentive Type | Administrator | Eligible Renewable Technologies | Applicable Sectors | Incentive Amount | Maximum Incentive | Eligible System Size | Equipment Requirements | Web site
State | Financial Incentive | IL | Small Solar Generation Projects at Municipally Owned and Served Facilities, Small Wind | Rebate Program (Proportional) | Illinois Municipal Electric Agency (IMEA) | Solar Photovoltaics, Wind | Commercial/Industrial, Municipal | $3 per watt | 75% of total project cost | <150 kW | Equipment must be new. Project paybacks must occur before the projected end of the equipment life. Must be UL-certified or have at least 1 year of field testing. Requires .95 or better Power Factor; Municipality must have in place a net metering policy | http://www.imea.org/EEProgram.aspx
State | Financial Incentive | MD | Clean Energy Grant Program | Rebate Program (Flat) | Maryland Energy Administration (MEA) | Solar Photovoltaics, Solar Thermal, Geothermal, Clean-burning stove | Residential | Solar Photovoltaics: $1,000; Solar Thermal: $500; Geothermal: $3,000; Stoves: $250-$700 (depending on stove type and efficiency) | Solar Photovoltaics: $1,000; Solar Thermal: $500; Geothermal: $3,000; Stoves: $250-$700 (depending on stove type and efficiency) | Photovoltaics: 1-20kW; Solar Thermal: 10-100sqft; Geothermal: 1-10 tons |  | http://energy.maryland.gov/residential/Pages/incentives/CleanEnergyGrants.aspx
State | Financial Incentive | MN | Made in Minnesota Solar Photovoltaics Incentive Program | Performance-Based Incentive | MN Dept. of Commerce | Solar Photovoltaics, Solar Thermal | Commercial, Non-profit, public, residential, multifamily | Commercial: - Silicon Energy Voyageur Modules SiE-V-280 and SiE-V-285 = $0.23/kWh - tenKsolar Modules XT-A 410 = $0.13/kWh - Heliene 260P-SW-40-MiM, 280M-SW-40-MiM, 280M-BB-40-MiM, 310P-SW-40-*MiM = $0.13/kWh - itek Energy Modules IT-270-HE, IT-275-HE, IT-280-HE, IT-285-HE = $0.18/kWh Non-profit/Public: - Silicon Energy Voyageur Modules SiE-V-280 and SiE-V-285 = $0.25/kWh - tenKsolar Modules XT-A 410 = $0.15/kWh - Heliene 260P-SW-40-MiM, 280M-SW-40-MiM, 280M-BB-40-MiM, 310P-SW-40-*MiM = $0.15/kWh - itek Energy Modules IT-270-HE, IT-275-HE, IT-280-HE, IT-285-HE = $0.20/kWh Residential: - Silicon Energy Voyageur Modules SiE-V-280 and SiE-V-285 = $0.30/kWh - tenKsolar Modules XT-A 410 = $0.23/kWh - Heliene 260P-SW-40-MiM, 280M-SW-40-MiM, 280M-BB-40-MiM, 310P-SW-40-*MiM = $0.23/kWh - itek Energy Modules IT-270-HE, IT-275-HE, IT-280-HE, IT-285-HE = $0.27/kWh |  | Less than 40kW-DC | Equipment must be certified as "Made in Minnesota" | https://mn.gov/commerce/consumers/your-home/save-energy-money/mim/
State | Financial Incentive | IL | Long-Term Renewable Resources Procurement Plan | Performance-Based Incentive | Illinois Power Agency (IPA) |  | Residential, Commercial, Industrial | $250/nameplate kW | TBD | <2,000 kW | Must be installed by a qualified person | https://www2.illinois.gov/sites/ipa/Pages/Renewable_Resources.aspx
State | Financial Incentive | CT | Residential Solar Investment Program | Rebate Program (Proportional) | Connecticut Green Bank | Solar Photovoltaics | Residential | Varies depending on previous 12 months of electricity usage: Up to 10kW=$0.463/watt; Greater than previous 12 month utility electricity consumption up to 20kW= $0.40/watt. Systems with a calculated "design factor">= 80% receive full amount. Design factor <80% receive incentive discounted by design factor. |  | <20kW | A qualifying energy efficiency audit must be completed before project completion. A qualifying energy efficiency audit must be completed before project completion. Customer must work with an Eligible Contractor and/or Eligible Third Party PV System Owner. | https://www.energizect.com/your-home/solutions-list/residential-solar-investment-program
State | Financial Incentive | DE | Green Energy Program | Rebate Program (Proportional) | DE Department of Natural Resources | Solar Photovoltaics, Solar Thermal, Geothermal heat pumps | Residential, Commercial, Non-profit | Residential - PV: $0.50/watt; Solar Thermal: $1/kWh saved; Geo: $700-800/ton; Wind: 0-5,000 watts = $0.85/watt, 5,001-50,000 watts = $0.25/watt Non-residential - PV: Flat $3,000/project; Solar Thermal: $1/kWh saved; Geo: $700-800/ton; Wind: 0-5,000 watts = $0.85/watt, 5,001-50,000 watts = $0.25/watt Non-Profit - PV: 0-5,000 watts = $1.50/watt, 5,001-50,000 watts = $0.75/watt; Solar Thermal: $2/kWh saved; Geo: $800-1,000/ton; Wind: 0-5,000 watts = $1.75/watt, 5,001-50,000 watts = $1.00/watt | Residential - PV: $3,000; Solar Thermal: $5,000; Geo: $5,000; Wind: $15,000 Non-residential - PV: $3,000; Solar Thermal: $10,000; Geo: $30,000; Wind: $24,000 Non-Profit - PV: $41,250; Solar Thermal: $10,000; Geo: $30,000; Wind: $50,000 | PV and wind must be < 50kW | Geothermal systems must meet minimum EER rating of ≥18 and COP ≥3.6 at partial load | https://dnrec.alpha.delaware.gov/energy-climate/renewable/assistance/
State | Financial Incentive | NY | NY-Sun | Performance-Based Incentive | NYSERDA | New, customer-sited PV, connected to grid and displace utility provided energy. | Commercial/Industrial | Commercial Base Incentive is based on 3 years of PV System Estimated Annual Energy Production using a designated 13.4% Capacity Factor (CF) for fixed-mount systems, 16.0% CF for single-axis tracking, or 17.5% CF for dual-axis tracking at the incentive associated with the block in which the project application is approved by NYSERDA. |  | Commercial: >200kW |  | https://portal.nyserda.ny.gov/servlet/servlet.FileDownload?file=00Pt0000002BFcoEAG
State | Financial Incentive | NY | NY-Sun | Performance-Based Incentive | NYSERDA | New, customer-sited PV, connected to grid and displace utility provided energy. | Residential, Small Commercial |  |  | Small Commercial: < 200 kW-500kW depending on region/utility area Residential: <25 kW |  | https://portal.nyserda.ny.gov/CORE_Solicitation_Detail_Page?SolicitationId=a0rt0000000QnxFAAS
Utility | Financial Incentive | MN | Solar Rewards Program | Performance-Based Incentive | Xcel Energy | Solar Photovoltaics | Commercial, Residential | $0.08 per kWh produced from the Photovoltaics system over 10 years. | NA | Systems 20 kW-DC or less, not to exceed 120% of the customer's on-site annual energy consumption | Photovoltaics panels and inverters must be listed on the California Energy Commissions (CEC) list. | http://www.xcelenergy.com/Energy_Solutions/Residential_Solutions/Renewable_Energy_Solutions/SolarRewards_for_Residences
Utility | Financial Incentive | MN | SolarSense | Performance-Based Incentive | Minnesota Power | Solar Photovoltaics | Residential, Commercial, Industrial | Calculating the rebate depends on the design of the solar system—including tilt, orientation and shading profile—and an estimate of annual energy production from Photovoltaics Watts. Photovoltaics Watts is a publicly available tool developed by the National Renewable Energy Laboratories (NREL) to estimate energy output from Photovoltaics systems. To calculate the SolarSense rebate, a Photovoltaics system’s estimated energy output is multiplied by $0.83/kWh. | Cannot exceed $20,000, or 60% of installed costs, whichever is less. |  |  | https://www.mnpower.com/Environment/SolarSense/
Utility | Financial Incentive | MN | Solar Thermal Water Heater Rebate Program | Rebate Program (Proportional) | Marshall Municipal Utilities | Solar Water Heat |  | $20 per square foot of collector area | 2000 |  | Must be ENERGY STAR certified | http://www.marshallutilities.com/residential/electricwaterheater.php
Utility | Financial Incentive | MN | Renewable Incentives Program | Rebate Program (Proportional) | Brainerd Public Utilities | Solar Photovoltaics | Commercial, Industrial, Local Government, Nonprofit, Residential, State Government, Institutional | $2/watt | 4000 | Less than 40kW |  | http://sunmetrix.com/incentives/5093/Brainerd-Public-Utilities---Renewable-Incentives-Program/Minnesota/
Utility | Financial | MN | Conserve & Save | Rebate Program (Proportional) | Partnership between Austin Public Utilities, Owatonna Public Utilities, Rochester Public Utilities | Solar Photovoltaics, Solar Thermal | Residential and Commercial | Photovoltaics: $0.50/watt Thermal: $15/sqft aperture | 5000 | 0.5-10 kW | Photovoltaics: Must be new, UL-listed, in compliance with all applicable performance and safety standards, Inverters must carry a minimum 5-year warranty, Panels must carry a 20-year warranty. Solar Water Heating: Must be new, SRCC OG-100 rated, Collectors must have 5-year warranty, All other components must have 1-year warranty. All systems must be installed by a licensed, qualified professional. An energy audit must be conducted prior to installation. | http://www.austinutilities.com/pages/residential-conserve/
Utility | Financial Incentive | MN | Power of 1 Grant Program | Rebate Program (Proportional) | Minnesota Power | Can be used for innovative technologies, improving manufacturing processes, undertaking renewable electric energy projects or for project design assistance. | Commercial, industrial, agricultural | $200/kW | <100 kW - $10,000 101 to 300 kW - $25,000 >300 kW - $50,000 |  |  | https://www.mnpower.com/ProgramsRebates/PO1/PowerGrant

## Appendix C Table 2
Appendix C, Table 2: Comparable Geothermal Energy Programs Across the U.S.
Implementing Sector | Category | State | Program Name | Incentive Type | Administrator | Eligible Renewable Technologies | Applicable Sectors | Incentive Amount | Maximum Incentive | Eligible System Size | Equipment Requirements | Web site
Utility | Financial Incentive (Proportional) | IL | Commercial EnergyAdvantage Rebate Program | Rebate Program | MidAmerican Energy | Geothermal Heat Pumps | Commercial, Industrial | $150-$600/cooling ton | 50% of installed cost (materials and reasonable labor) |  | Must be AHRI-certified. | https://www.midamericanenergy.com/il-bus-forms.aspx
Utility | Financial Incentive (Flat) | IL | Residential EnergyAdvantage Rebate Program | Rebate Program | MidAmerican Energy | Geothermal Heat Pumps | Residential | $200 - $2,400, depending on EER and COP | 50% of installed cost (materials and reasonable labor) |  | Must be SAVE certified (excellent rating) and meet either qualifying efficiency level; must be AHRI Certified. | https://www.midamericanenergy.com/il-res-forms.aspx
Utility | Financial Incentive (Proportional) | IL | Power Moves: Commercial and Industrial Energy Efficiency Program | Rebate Program | Wabash Valley Power Association | Geothermal Heat Pumps | Non-residential | $500-$750/ton | 75% of total project cost OR $25,000 per member per year for prescriptive projects/$50,000 per member per year for custom projects. | <20 tons | All equipment must be new. Must meet technical specifications. | http://www.powermoves.com/my-business/
Utility | Financial Incentive (Flat) | IL | Power Moves: Residential Program | Rebate Program | Wabash Valley Power Association | Geothermal Heat Pumps | Residential | $1,500 per project | 75% of total project cost. Maximum incentive payment per membership is $10,000. |  | All equipment must be new. Must meet technical specifications. | http://www.powermoves.com/my-business/
Utility | Financial Incentive (Proportional) | IL | Energy Efficiency Rebate Program - HVAC Geothermal | Rebate Program | Jo-Carroll Energy Cooperative | Geothermal Heat Pumps | Residential | Replacement: $300/ton; New: $700/ton | 20% of cost of equipment |  |  | https://www.jocarroll.com/content/energy-efficiency-incentives
Utility | Financial Incentive (Flat) | IL | Energy Efficiency Program for Residential | Rebate Program | ComEd | Geothermal Heat Pumps | Residential, Multifamily | $6,000 per home | $6,000 per home |  | AHRI certificate needed; Must be installed by approved contractor | https://www.Comed.com/HomeSavings
State | Financial Incentive | IL | Efficient Living Energy Grant | Grant Program | Illinois Department of Commerce and Economic Opportunity and Smart Energy Design Assistance Center | Geothermal Heat Pumps | Low income residential | Funding varies by technology. | include residential households at or below 30% of Average Median Income (AMI), 50% AMI, or 80% AMI. Funding is limited to $450,000 per applicant and grant costs cannot exceed 100% of the total project costs. |  | Incentive applies for new or retrofit Ground Source Heat Pump (GSHP) systems with Energy Efficiency Ratio (EER) ≥ 15 and Coefficient of Performance (COP) ≥ 3.4. Incentive is based on the existing system: 1. Existing System: all electric HVAC (incentive is based on both heating and cooling annual savings). 2. Existing System: Electric Cooling, Gas Heating (incentive is based on annual cooling savings only). Incentive applies for closed loop heat exchanger system including vertical closed loop field, horizontal closed loop field, slinky closed loop field, and closed pond loop. Heat pump EER will be the published full load values at standard test conditions in accordance with ANSI/AHRI/ASHRAE ISO Standard 13256-1, 2: 1998 (Ground Loop Heat Pump).(Entering water temperature from ground loop: 77 ºF cooling, 32 ºF heating). A manufacturer’s specification sheet indicating the EER and COP must accompany the application. | http://www.ilpha.org/
Utility | Financial Incentive (Proportional) | IL | Commercial Energy Efficiency Rebate Programs |  | Energy Services Office | Geothermal Heat Pumps | Commercial | $500 per ton of installed cooling capacity |  | N/A | New systems only | https://www.cwlp.com/ServicesHome/ServicesInformation/AllRebates.aspx
Utility | Financial Incentive (Proportional) | MN | Residential Energy Efficiency Rebate Program | Rebate Program | Mora Municipal Utilities | Geothermal Heat Pumps | Residential | Geothermal Heat Pump: $200/ton, plus $25/ton for every 1 EER above the minimum required EER |  |  |  | http://www.SaveEnergyInMora.com
Utility | Financial Incentive (Proportional) | MN | Residential Conserve and Save Program |  | Partnership between Austin, Owatonna, and Rochester Public Utilities | Geothermal Heat Pumps | Residential | Geothermal Heat Pumps: $200/ton, plus $150 per EER over minimum efficiency, plus $250 per desuperheater |  |  |  | http://www.austinutilities.com/pages/residential-conserve/
Utility | Financial Incentive (Proportional) | MN | Residential New Construction Rebate Program/ Triple E New Construction Program | Rebate Program | Minnesota Power | Solar PV, Geothermal heat pumps | Residential | Ground Source Heat Pump: $200/ton closed-loop; $100/ton open-loop | Up to $2,000 |  | The heat pump must be ENERGY STAR® rated as listed. | http://www.mnpower.com/EnergyConservation/TripleE
Utility | Financial Incentive (Flat) | IA | Residential Energy Efficiency Rebate Programs | Rebate Program | Alliant | Geothermal Heat Pumps | Residential | EER 14 and COP 3 or greater - $1,600 EER 18 and COP4 or greater - $2,400 EER 23 and COP 5 or greater - $3,200 desuperheater - $150 | Max one unit per well system. <240,000 BTUH or 20 tons |  | Minimum efficiencies: EER 14.0/COP 3.0. Must be SAVE installed. Additional units drawing from well field are eligible for equipment only rebates of 50% (if replacing equipment and not loops). | http://www.alliantenergy.com/rebates
Utility | Financial Incentive (Proportional) | IA | Commercial Energy Efficiency Rebate Program |  | Cedar Falls Utilities | Geothermal Heat Pumps | Commercial and Large Multifamily | <300 Mbtuh - $600/heating ton for new ground loop, $300/heating ton for existing loop >300 Mbtuh - Varies (diverted to custom program) |  | 3.6 COP and 17.0 EER |  | https://www.cfu.net/save-energy/business-rebates/
Utility | Financial Incentive (Proportional) | IA | Residential Energy Efficiency Rebate Program |  | Cedar Falls Utilities | Geothermal Heat Pumps | Residential | $300-$600 per ton |  | Closed loops: 16.1 EER and COP 3.1; Open loops: 20.1 EER and COP 3.5. Equipment must meet CFU’s sizing requirement and have a SAVE rating of Excellent. |  | https://www.cfu.net/save-energy/residential-rebates/
Utility | Financial Incentive (Flat) | IA | Residential Energy Efficiency Rebate Program | Rebate Program | Muscatine Power and Water | Geothermal Heat Pumps | Residential | EER 18 and COP4 or greater - $2,400 EER 23 and COP 5 or greater - $3,200 |  | Minimum EER 18 and COP4 |  | https://www.mpw.org/utilities/energy-smarts/rebate-center/residential
State | Financial Incentive (Flat) | MD | Clean Energy Grant Program | Rebate Program (Flat) | Maryland Energy Administration (MEA) | Solar Photovoltaics, Solar Thermal, Geothermal, Clean-burning stove | Residential | Solar Photovoltaics: $1,000; Solar Thermal: $500; Geothermal: $3,000; Stoves: $250-$700 (depending on stove type and efficiency) |  | Photovoltaics: 1-20kW; Solar Thermal: 10-100sqft; Geothermal: 1-10 tons |  | http://energy.maryland.gov/residential/Pages/incentives/CleanEnergyGrants.aspx
State | Financial Incentive (Proportional) | DE | Green Energy Program | Rebate Program (Proportional) | DE Department of Natural Resources | Solar Photovoltaics, Solar Thermal, Geothermal heat pumps | Residential, Commercial, Non-profit | Residential - Geo: $700-800/ton Non-residential - Geo: $700-800/ton Non-Profit - Geo: $800-1,000/ton | Residential - PV: $3,000; Solar Thermal: $5,000; Geo: $5,000; Wind: $15,000 Non-residential - PV: $3,000; Solar Thermal: $10,000; Geo: $30,000; Wind: $24,000 Non-Profit - PV: $41,250; Solar Thermal: $10,000; Geo: $30,000; Wind: $50,000 | PV and wind must be < 50kW | Geothermal systems must meet minimum EER rating of ≥18 and COP ≥3.6 at partial load | https://dnrec.alpha.delaware.gov/energy-climate/renewable/assistance/

## Appendix C Table 3
Appendix C, Table 3: Comparable RFP-Style Renewable Energy Programs Across the U.S.
Program Name | State | Administrator | Budget | Eligible Renewable Technologies | Applicable Sectors | Incentive Amount | Maximum Incentive | Eligible System Size | Equipment Requirements | Web site
Renewable Development Fund | MN | Xcel Energy | 30 million (most recent cycle) | Projects have included: wind, biomass, solar, hydro, and biofuels | Non-profit, Commercial, Government, Public Institutions (i.e. universities) | Varies |  | Varies | Near-commercial & demonstration-scale renewable projects | https://www.xcelenergy.com/Energy_Portfolio/Renewable_Energy/Renewable_Development_Fund
Renewable Development Fund | OR | Portland General Electric | 4.7 million (2018) | Projects: Wind, Geothermal (excluding heat pumps), Solar photovoltaic (excluding solar thermal), Low-impact hydroelectric certified by the Low Impact Hydro Institute (LIHI), Pipeline or irrigation canal hydropower, Wave energy, Tidal energy, Low-emission biogas; R&D: Projects that facilitate renewable energy market transformation or new technologies; Educational: components directly associated with RDF-funded project. | No single family residential. Must be commercial or utility scale, with capacity <10MW | Varies | 33% of development fund balance | Varies |  | https://www.portlandgeneral.com/business/power-choices-pricing/renewable-power/install-solar-wind-more/renewable-development-fund
CommerceRI’s Renewable Energy Development Fund (REF) | RI | Rhode Island Commerce Corporation | ~ 3.6 million annually (deployed in 6 month increments) | Small Scale solar (PV and Hot Water), Commercial Scale Solar, Community Renewables, pre-development feasibility studies | Commercial, Institutions, Non-profits, Municipalities, State Facilities |  |  |  |  | https://commerceri.com/financing/renewable-energy-fund/
Renewable Energy Program | ND | ND Industrial Commission | $3 million per biennium | Development of renewable energy and related industrial use technologies including, but not limited to, wind, biofuels, advanced biofuels, biomass, biomaterials, solar, hydroelectric, geothermal, and renewable hydrogen through research, development, demonstration and commercialization. - Can be used to promote research and utilization of renewable energy co-products for livestock feed, human food products and industrial use technologies. - Any project proposing education, research, development, or marketing of renewable energy resources, materials, products, or advanced energy technology. - Projects must demonstrate a high probability of advancing to a commercially viable stage supported by a roadmap to commercialization, have significant involvement from a ND private entity, and not be duplicative of other research or demonstration projects. |  | Varies | $500,000 or 50% of total project cost |  |  | http://www.nd.gov/ndic/renew-infopage.htm
Renewable Resource Grant and Loan Program | MT | MT Dept. Natural Resources and Conservation |  | Projects that conserve, manage, develop or preserve Montana's renewable resources are eligible for funding | Political subdivisions of state, local and tribal government including state agencies and universities, counties, incorporated cities and towns, conservation districts, irrigation districts, water/sewer/solid waste districts, and Tribes | Varies | 125000 | Varies | Varies | http://dnrc.mt.gov/divisions/cardd/resource-development/renewable-resource-grant-program
Clean Energy Development Fund (CEDF) | VT | Department of Public Service | $4 million in FY2018 | Varies depending on program/RFP | Commercial, Agriculture, Residential | Varies |  | Varies | Varies | http://publicservice.vermont.gov/content/funding-opportunities-projects
Standard Offer | VT | Vermont Electric Power Producers Inc. (VEPP) |  | Solar Photovoltaic, Wind, Biomass, Hydroelectric, msw, landfill gas, anaerobic digestion | Commercial, Industrial, Residential, Agricultural |  |  |  |  | https://www.energy.gov/savings/standard-offer-program
C&I Carbon Challenge | NY | New York State Energy Research and Development Authority (NYSERDA) | 10 million | Energy-related measures with carbon reduction potential, including but not limited to energy efficiency and distributed energy resource projects | Large Commercial and Industrial | 2-5 million | 5 million | Varies | Varies | https://portal.nyserda.ny.gov/CORE_Solicitation_Detail_Page?SolicitationId=a0rt000000BntMuAAJ
Energy Program (multiple) | IL | Illinois Clean Energy Community Foundation |  | Solar - Passive, Solar Water Heat, Solar Space Heat, Solar Thermal Process Heat, Solar Photovoltaics, Wind (All), Biomass, Geothermal Heat Pumps, Fuel Cells using Non-Renewable Fuels, Wind (Small), Fuel Cells using Renewable Fuels, Other Distributed Generation Technologies | Local Government, Nonprofit, Schools, State Government, Institutional | Varies, typically on case-by-case basis. For example - Solar Thermal: The lessor of $100/sq. ft. and 60% of project costs |  | Varies | Varies | http://www.illinoiscleanenergy.org/how-to-apply/
Illinois Solar for All | IL | Renewable Energy Resources Fund (Future Energy jobs Act) |  | Solar Photovoltaics (low-income, public/non-profit, low-income community solar Photovoltaics) and Solar Photovoltaics Community pilot program | Low-Income, Multifamily, Non-profit/public | TBD | TBD | TBD | TBD | https://www2.illinois.gov/sites/ipa/Pages/Renewable_Resources.aspx